Replication Competent Lentivirus Reporting

Acceptable Methods:

-qPCR / Real-Time PCR

-End-Point PCR

All methods must include:

-Primer pairs for detection of HIV pol region

-Primer pairs for detection of genomic DNA quality control (Actin etc.)

-For testing, all samples must be in culture after transduction from 2 to 4 weeks

-PCR amplification for 35 cycles

-Standards, samples and positive controls must be on a single gel

-Testing samples must contain 100ng/rxn of DNA

-For standard curve of HIV pol containing plasmid (pCgp, pCpG-gDNA etc.) in the following concentrations:

| Standards | ng pol plasmid/rxn | Copy # |
| --- | --- | --- |
| S1 | 1.0E+00 | 1.0E+06 |
| S2 | 1.0E-03 | 1.0E+04 |
| S3 | 1.0E-04 | 1.0E+03 |
| S4 | 1.0E-05 | 1.0E+02 |
| S5 | 1.0E-06 | 1.0E+01 |
| S6 | 1.0E-07 | 1.0E+00 |
| S7 | 1.0E-08 | 0.0E+00 |

-Gels must be clearly labeled, example below

-For Real-Time or qPCR please include ng of DNA per reaction and C(t) values for all samples as well as and endpoint gel

Replication Competent Lentivirus Reporting Form

User:

Principal Investigator:

Date:

Name of Lenti Virus Construct:

Lenti Virus Lot:

Time In Culture:

Assay Method: (Highlight one)    	Real-Time PCR (qPCR)

End Point PCR

Number of Cycles Used:

Standard Curve Used:

|  | ng pol plasmid/rxn | Copy # |
| --- | --- | --- |
| S1 |  |  |
| S2 |  |  |
| S3 |  |  |
| S4 |  |  |
| S5 |  |  |
| S6 |  |  |
| S7 |  |  |

Ct Values for Real-Time

| Sample Name(standard, control, sample, etc.) | Average Ct Value | Standard Deviation |
| --- | --- | --- |

Replication Competent Lentivirus Reporting Gel

Please insert Gel with legend below: