## PMCC FACSymphony Spread Matrix
Spillover Spread Matrix
|  | SPREAD INTO DETECTORS ----> | [26 empty] | Total Spread Contributed
|  | YG_586 | V_431 | B_530 | V_525 | YG_670 | YG_780 | UV_379 | UV_605 | B_610 | R_730 | UV_515 | UV_580 | B_710 | R_780 | V_710 | YG_610 | UV_670 | B_780 | UV_740 | B_670 | V_677 | V_605 | UV_820 | V_780 | V_586 | V_750 | R_670 | 0
|  | PE | BV421 | BB515 | BV480 | PE-Cy5 | PE-Cy7 | BUV395 | BUV615-P | BB630 | APC-R700 | BUV496 | BUV563 | BB700 | APC-Cy7 | BV711 | PE-CF594 | BUV661 | BB790 | BUV737 | BB660 | BV650 | BV605 | BUV805 | BV786 | BV570 | BV750 | APC | 0
FLUOROPHORES → | BUV395 | 0 | 0 | 0.059375 | 0.18797 | 0.057522 | 0.055636 | 0 | 0.18524 | 0.23383 | 0.090062 | 0 | 0.39908 | 0 | 0.10281 | 0.13752 | 0.32021 | 0.2538 | 0.10541 | 0.073779 | 0.0048066 | 0.28599 | 0.34121 | 0.18258 | 0.2206 | 0.38206 | 0.1733 | 0.19853 | 4.0513
| FITC | 0 | 0 | 0 | 0.23024 | 0 | 0.00059906 | 0.17742 | 0.18073 | 0.22169 | 0 | 0.51347 | 0.4968 | 0.15284 | 0.1554 | 0.11601 | 0.18374 | 0.071869 | 0.11381 | 0.12036 | 0.28057 | 0.25207 | 0.41446 | 0 | 0.087084 | 0.46406 | 0.36049 | 0.15067 | 4.7444
| BUV805 | 0 | 0.056833 | 0 | 0.074325 | 0 | 0.10161 | 0.60252 | 0.072361 | 0.15733 | 0.052874 | 0.41227 | 0.28003 | 0.081235 | 0.90054 | 0.09277 | 0.11621 | 0.16597 | 0.21089 | 0.32143 | 0 | 0.24468 | 0.23621 | 0 | 0.46803 | 0.34393 | 0.2803 | 0.21407 | 5.4864
| BV421 | 0 | 0 | 0 | 0.55641 | 0 | 0 | 0.18528 | 0.16785 | 0.068019 | 0.052626 | 0.92887 | 0.41227 | 0.1001 | 0.083738 | 0.19079 | 0 | 0.09535 | 0 | 0.1448 | 0.12158 | 0.32104 | 0.49826 | 0.15088 | 0.19839 | 1.2311 | 0.20116 | 0.19646 | 5.9049
| BUV496 | 0.04299 | 0.081082 | 0.048961 | 0.47025 | 0.082321 | 0 | 0.69093 | 0.59741 | 0.20682 | 0.091759 | 0 | 0.80617 | 0.11705 | 0.16559 | 0.063651 | 0.2982 | 0.34582 | 0.0591 | 0.28352 | 0 | 0.25022 | 0.642 | 0.30715 | 0.23968 | 1.0944 | 0.37506 | 0.25674 | 7.6168
| BB515 | 0.00042181 | 0.081721 | 0 | 0.34874 | 0 | 0 | 0.26047 | 0.26508 | 0.5111 | 0.072692 | 2.4542 | 0.51347 | 0.33237 | 0.083821 | 0.13144 | 0.11804 | 0.18601 | 0.18278 | 0.1609 | 0.53946 | 0.28714 | 0.72007 | 0.18285 | 0.24154 | 0.58157 | 0.13669 | 0.44489 | 8.8375
| AF700 | 0.045367 | 0.058609 | 0.50438 | 0.075632 | 0.00054747 | 0.20665 | 0.15983 | 0.10638 | 0 | 0 | 0.57224 | 0.36832 | 1.0188 | 1.0277 | 0.43852 | 0.11216 | 0.20074 | 0.31631 | 0.63361 | 0.17318 | 0.1822 | 0.20849 | 0.70856 | 0.7895 | 0.66261 | 1.3107 | 0.25282 | 10.1338
| APC-Cy7 | 0 | 0.088797 | 0.09209 | 0.11434 | 0.092064 | 0.91673 | 0.25176 | 0.14072 | 0.10961 | 0.35229 | 0.4767 | 0.37969 | 0.12824 | 0 | 0.24371 | 0 | 0.22732 | 1.0985 | 0.50197 | 0.30468 | 0.39946 | 0.44724 | 2.4694 | 1.5598 | 0.60021 | 0.9859 | 0.60376 | 12.5851
| BUV563 | 0.26084 | 0 | 0.0876 | 0.17466 | 0.12564 | 0.11845 | 0.52192 | 1.6348 | 0.88965 | 0.094814 | 0.17466 | 0 | 0.23279 | 0 | 0.15181 | 1.2118 | 0.91022 | 0.1767 | 0.51684 | 0.56723 | 0.49518 | 1.1804 | 0.53885 | 0.21595 | 1.2792 | 0.3693 | 0.863 | 12.7924
| BV570 | 0.12264 | 0.17854 | 0.070812 | 0.17101 | 0.13818 | 0.1103 | 0.2003 | 0.76522 | 0.50161 | 0.16109 | 0.45954 | 1.1987 | 0.21127 | 0 | 0.55774 | 0.80489 | 0.51072 | 0.2104 | 0.37177 | 0.48174 | 1.4884 | 2.9609 | 0.45508 | 0.78172 | 0 | 1.1701 | 0.44296 | 14.5257
| BV480 | 0.06519 | 0.37192 | 0.071835 | 0 | 0.046912 | 0 | 0.30796 | 0.56446 | 0.2297 | 0.12474 | 2.08 | 0.78133 | 0.10779 | 0 | 0.41263 | 0.23399 | 0.41771 | 0.090568 | 0.2804 | 0.17772 | 0.88192 | 1.9803 | 0.2557 | 0.45954 | 3.6906 | 0.83651 | 0.28201 | 14.7514
| APC | 0 | 0.060012 | 0.052922 | 0.1105 | 0.5478 | 0.23238 | 0.19941 | 0.17333 | 0.10751 | 0.8614 | 0.46406 | 0.3298 | 0.26614 | 0.85895 | 0.51078 | 0.1753 | 1.1717 | 0.3717 | 0.61704 | 1.8743 | 2.1462 | 0.58612 | 0.74535 | 0.84111 | 0.52314 | 1.1737 | 0 | 15.0006
| PerCP-Cy5-5 | 0.043212 | 0.084759 | 0.56028 | 0 | 0.15772 | 0.21954 | 0.1383 | 0.10522 | 0.12711 | 0.57626 | 0.51724 | 0.35041 | 0 | 0.6014 | 1.0666 | 0.12935 | 0.69131 | 0.71227 | 0.84243 | 0.74515 | 1.1691 | 0.30627 | 1.0901 | 1.7672 | 0.34972 | 2.3488 | 1.026 | 15.7257
| APC-R700 | 0 | 0.0014204 | 0.00097086 | 0.11192 | 0.12173 | 0.59398 | 0.18341 | 0.1119 | 0.17115 | 0 | 0.44624 | 0.37075 | 0.45134 | 2.3354 | 1.0111 | 0.12401 | 0.35131 | 0.83886 | 1.7562 | 0.58965 | 0.57224 | 0.19306 | 1.3028 | 1.3098 | 0 | 2.0228 | 1.135 | 16.1069
| BV786 | 0 | 0.23638 | 0 | 0.16018 | 0 | 0.17224 | 0.44398 | 0 | 0.071313 | 0.32107 | 0.45954 | 0.40263 | 0.086609 | 1.3624 | 0.69166 | 0.14761 | 0.18563 | 0.46274 | 1.2405 | 0.0061039 | 0.44624 | 0.18863 | 4.9537 | 0 | 0.55643 | 4.6635 | 0.16792 | 17.427
| BUV737 | 0 | 0.10994 | 0.072548 | 0.17842 | 0 | 0.30676 | 0.51817 | 0.17581 | 0.077765 | 2.0444 | 0.44398 | 0.33095 | 0.78038 | 2.0511 | 0.49642 | 0.17389 | 0.31207 | 1.0276 | 0 | 0.31782 | 0.26732 | 0 | 3.865 | 1.5623 | 0.38992 | 2.2726 | 0.56984 | 18.345
| BV750 | 0 | 0.1711 | 0.046695 | 0.15215 | 0 | 0.14886 | 0.24995 | 0.14637 | 0.13848 | 0.67849 | 0.41771 | 0.36084 | 0.24316 | 1.2105 | 1.3232 | 0.079123 | 0.13423 | 0.6444 | 2.5194 | 0.20581 | 0.34598 | 0 | 3.4642 | 6.2417 | 0 | 0 | 0.19732 | 19.1196
| BV510 | 0.064801 | 0.16648 | 0.41583 | 0 | 0 | 0.00058525 | 0.27702 | 0.83191 | 0.25743 | 0.182 | 2.03 | 1.1924 | 0.23431 | 0 | 0.54158 | 0.35193 | 0.55446 | 0.064162 | 0.48639 | 0 | 1.4259 | 2.5118 | 0.53413 | 0.909 | 4.9914 | 1.1192 | 0.41934 | 19.5621
| BB790-P | 0 | 0.084597 | 0.11663 | 0.13731 | 0 | 0.19788 | 0.37898 | 0.30634 | 0.51478 | 0.27987 | 0.41227 | 0.41397 | 0.61137 | 1.2843 | 0.54672 | 0.29099 | 0.33043 | 0 | 1.1084 | 0.68184 | 0.72001 | 0.99747 | 3.7817 | 3.4508 | 1.7992 | 3.0871 | 0.59518 | 22.1282
| BV650 | 0 | 0.24201 | 0 | 0.11083 | 0.16365 | 0.14406 | 0.19198 | 0.42844 | 0.1739 | 0.59547 | 0.44624 | 0.40522 | 0.21041 | 0.4532 | 1.9267 | 0.3762 | 1.8366 | 0.25007 | 1.1394 | 0.58228 | 0 | 1.6575 | 1.3337 | 2.5299 | 1.3869 | 3.3403 | 2.4542 | 22.3792
| BUV615-P | 0.13226 | 0.059705 | 0.069635 | 0.15617 | 0.27525 | 0.26968 | 0.45238 | 0 | 1.8881 | 0.28125 | 0.53946 | 1.1659 | 0.35173 | 0.087921 | 0.4767 | 3.0429 | 2.2856 | 0.44194 | 1.2791 | 1.1353 | 1.0725 | 2.7429 | 1.1866 | 0.6342 | 1.7665 | 0.83847 | 1.8638 | 24.4959
| BV605 | 0.12263 | 0.1876 | 0.049337 | 0.169 | 0.20302 | 0.17175 | 0.214 | 1.5636 | 0.80343 | 0.2925 | 0.22732 | 1.0456 | 0.28992 | 0.086573 | 1.2024 | 1.368 | 1.1194 | 0.29848 | 0.92887 | 0.77644 | 2.7343 | 0 | 0.92288 | 1.6399 | 5.2412 | 2.6797 | 0.88877 | 25.2266
| PE-Cy7 | 0.10965 | 0.13368 | 0.087503 | 0.10677 | 0.11293 | 0 | 0.31684 | 0.16763 | 0.51346 | 0.21982 | 0.38992 | 0.36385 | 0.36486 | 1.8307 | 0.22602 | 0.32761 | 0.093567 | 8.6375 | 0.67143 | 0.34483 | 0.30188 | 0.57926 | 3.5212 | 3.4721 | 0.8189 | 1.4656 | 0.30992 | 25.4874
| PE-CF594 | 0.16095 | 0.058218 | 0.048723 | 0.13086 | 0.44911 | 0.38071 | 0.18646 | 1.2315 | 3.7911 | 0.22273 | 0.40263 | 0.51724 | 1.3433 | 0.0061977 | 0.72411 | 0 | 0.77585 | 0.90391 | 0.50763 | 2.0857 | 1.633 | 3.4184 | 0.60302 | 0.84662 | 2.6218 | 1.1865 | 1.8899 | 26.1262
| BUV661 | 0 | 0.0013898 | 0 | 0.12392 | 0.53046 | 0.2374 | 0.58528 | 0.28308 | 0.19163 | 1.2276 | 0.42844 | 0.44187 | 0.29526 | 0.89731 | 0.5116 | 0.22171 | 0 | 0.34282 | 2.1391 | 1.5043 | 1.9099 | 0.58949 | 2.1697 | 0.78309 | 0.7951 | 1.2049 | 9.2858 | 26.7011
| PE | 0 | 0.12171 | 0.95967 | 0.15802 | 0.26248 | 0.16763 | 0.23399 | 1.0636 | 1.8233 | 0.19352 | 0.48639 | 2.5194 | 3.8137 | 0.0031875 | 0.4611 | 1.7207 | 0.59737 | 0.43537 | 0.36214 | 1.1846 | 1.1707 | 3.0364 | 0.39813 | 0.46739 | 5.3864 | 0.79227 | 1.0249 | 28.844
| BV711 | 0 | 0.25077 | 0.00096725 | 0.11066 | 0.086058 | 0.31489 | 0.3309 | 0.076136 | 0.10382 | 2.9905 | 0.44624 | 0.31615 | 0.73927 | 1.5168 | 0 | 0 | 0.68566 | 0.65584 | 3.4074 | 0.37923 | 1.387 | 0.15508 | 3.5617 | 5.8901 | 0.51688 | 8.3431 | 0.72676 | 32.9919
| BB660-P | 0.00041092 | 0.12721 | 0.068946 | 0.14389 | 0.79635 | 0.16827 | 0.23024 | 0.2386 | 0.25874 | 1.0132 | 0.42844 | 0.31305 | 1.6275 | 0.8954 | 1.3882 | 0.14141 | 1.8319 | 0.86929 | 0.97984 | 0 | 3.3162 | 1.1082 | 1.1187 | 2.0547 | 1.4863 | 2.5265 | 10.7477 | 33.8792
| BYG584-P | 0 | 0.17643 | 0.069977 | 0.074629 | 0.73675 | 0.50196 | 0.15532 | 0.86735 | 3.2336 | 0.13787 | 0.53413 | 1.4851 | 0.55266 | 0 | 0.44624 | 6.2784 | 0.54311 | 0.71533 | 0.33695 | 2.5285 | 1.5338 | 4.5943 | 0.42451 | 0.69674 | 5.5918 | 0.95039 | 1.2567 | 34.4225
| BB630-P | 0.10166 | 0.10971 | 0 | 0.16352 | 0.25393 | 0.16394 | 0.14706 | 1.947 | 0 | 0.27862 | 0.44624 | 0.8104 | 1.2715 | 0.16008 | 1.0623 | 2.7 | 1.1377 | 0.78252 | 0.68058 | 2.3011 | 2.8074 | 6.4677 | 0.76897 | 1.3571 | 4.697 | 1.9551 | 2.2663 | 34.8374
| BB700 | 0.046845 | 0.17081 | 0.1151 | 0.23853 | 0.23604 | 0.29432 | 0.27529 | 0.22048 | 0.34643 | 3.0303 | 0.44187 | 0.38393 | 0 | 1.5876 | 2.3995 | 0.15014 | 1.2601 | 2.0132 | 1.6593 | 2.1365 | 2.2162 | 0.82028 | 1.8132 | 3.4833 | 1.385 | 4.8976 | 3.5378 | 35.1597
| PE-Cy5 | 0.12091 | 0.15691 | 0.069817 | 0.10163 | 0 | 1.2162 | 0.36833 | 0.22593 | 0.46876 | 1.6795 | 0.46406 | 0.37677 | 3.9427 | 1.3756 | 1.9328 | 0.513 | 3.7404 | 2.2688 | 1.4249 | 10.1113 | 4.4079 | 1.255 | 1.5735 | 2.0574 | 1.2043 | 3.1755 | 21.9915 | 66.2235
Total Spread Received | TSR | 1.4408 | 3.6283 | 3.7406 | 5.0425 | 5.4765 | 7.413 | 9.4357 | 14.8445 | 18.1912 | 18.1994 | 18.9444 | 19.5321 | 19.9586 | 21.1243 | 21.4821 | 21.7115 | 23.0239 | 25.3013 | 27.4963 | 32.1416 | 36.672 | 40.8375 | 44.3839 | 47.2562 | 51.8377 | 56.2432 | 66.2604
| User Defined Heatmap |  | <0.50 |  |  | SSM generated using single stained CD4 lymphocytes in lysed/washed whole blood
|  |  | 0.50-1.49 |  |  | PMT voltages were adjusted to place CD4-positive lymphocytes at 2x10^4 for each fluorescence parameter
1.50-2.99
3.00-4.50
>4.50

## BRIGHTNESS VALUES
Excitation Line |  | Brightness Relative | Ultraviolet Laser (355Laser ) | FLUOROCHROME | RANKING
405 nm | 450/40 |  | BD Horizon Brilliant™ Violet 421 (BV421) (Exmax 407 nm/Emmax 421 nm) is a polymer-based dye excited by the violet laser and is one of the brightest fluorochromes offered by BD Life Sciences. Conjugates are typically 10 times brighter than Pacific Blue™ conjugates and are often as bright as or brighter than PE conjugates. Due to similar excitation and emission properties, BD Horizon BV421 and BD Horizon V450 cannot be used simultaneously. | BV421 | 4
405 nm | 660/20 |  | BD Horizon Brilliant™ Violet 650 (BV650) (Exmax 407 nm/Emmax 650 nm) is a tandem fluorochrome of BD Horizon™ BV421 and an acceptor dye with an Em Max at 650 nm. Due to the excitation and emission characteristics of the acceptor dye, there will be spillover into the APC and Alexa Fluor® 700 detectors. BD Horizon BV650 will have moderate spillover into the BD Horizon™ BV711 detector. | BV650 | 4
405 nm | 710/50 |  | BD Horizon Brilliant™ Violet 711 (BV711) (Exmax 407 nm/Emmax 711 nm) is a tandem fluorochrome of BD Horizon BV421 and an acceptor dye with an Em Max at 711 nm. This dye offers a very bright choice for the violet laser. Due to the excitation and emission characteristics of the acceptor dye, there may be moderate spillover into the Alexa Fluor® 700 and PerCP-Cy™5.5 detectors. BD Horizon BV711 will also have moderate spillover into the BD Horizon™ BV786 detector. | BV711 | 4
488 nm | 530/30 |  | BD Horizon Brilliant™ Blue 515 (BB515) (Exmax 490 nm/Emmax 515 nm) is a dye that was exclusively developed by BD Life Sciences as an additional bright dye for the blue laser. This dye is significantly brighter than FITC and has less spillover into the PE channel. Due to similar excitation and emission properties, BD Horizon BB515 and FITC/Alexa Fluor® 488 cannot be used simultaneously. | BB515 | 4
488 nm 532 nm 561 nm | 610/20 |  | BD Horizon™ PE-CF594 (Exmax 496 nm/Emmax 612 nm) is a tandem conjugate, developed exclusively by BD Life Sciences, that combines PE and CF594. PE-CF594 is a brighter alternative to PE-Texas Red® with improved spectral characteristics. | PE-CF594 | 4
488 nm 532 nm 561 nm | 670/14 |  | PE-Cy™5 (Exmax496 nm/Emmax667 nm) is a tandem conjugate that combines phycoerythrin and the cyanine dye Cy5. Because of its broad absorption range and the fact that its emission spectra are equivalent to APC, PE-Cy5 is not recommended for simultaneous use with APC. The Cy5 molecule has been shown to exhibit nonspecific binding to Fc receptors, which is most apparent on monocyte populations. | PR-CY7 | 4
488 nm | 695/40 |  | BD Horizon Brilliant™ Blue 700 (BB700) (Exmax 485 nm/Emmax 693 nm) is a dye that was exclusively developed by BD Life Sciences as brighter alternative to PerCP-Cy5.5. This dye also has less cross-laser excitation off the 405-nm laser, resulting in less spillover into the violet channels compared to PerCP-Cy5.5. Due to similar excitation and emission properties, BD Horizon BB700 and PerCP-Cy5.5 cannot be used simultaneously. | BB700 | 4
355 nm | 585/15 |  | BD Horizon Brilliant™ Ultraviolet 563 (BUV563) (Exmax 348 nm/Emmax 563 nm) is a tandem fluorochrome that combines BD Horizon BUV395 and an acceptor dye with an Em Max at 563 nm. Due to the excitation of the acceptor dye by other laser lines, there may be spillover into channels detecting PE (eg, 575/26-nm filter) and PE-CF594 (eg, 610/20-nm filter). BUV563 has been exclusively developed by BD Life Sciences for instruments equipped with a 355-nm UV laser. | BUV563 | 3
355 nm | 670/25 |  | BD Horizon Brilliant™ Ultraviolet 661 (BUV661) (Exmax 348 nm/Emmax 661 nm) is a tandem dye that combines BUV395 and an acceptor dye with an emission max at 661 nm. As part of the BD Horizon Brilliant Ultraviolet family, this dye provides an additional option for multicolor panels utilizing UV-excitable dyes. | BUV661 | 3
355 nm | 740/35 |  | BD Horizon Brilliant™ Ultraviolet 737 (BUV737) (Exmax 348 nm/Emmax 737 nm) is a tandem fluorochrome that combines BD Horizon BUV395 and an acceptor dye with an Em Max at 737 nm. Due to the excitation of the acceptor dye by other laser lines, there may be significant spillover into channels detecting Alexa Fluor® 700 like dyes (eg, 712/20-nm filter). BUV737 has been exclusively developed by BD Life Sciences for instruments equipped with a 355-nm UV laser. | BUV737 | 3
405 nm | 525/40 |  | BD Horizon Brilliant™ Violet 480 (BV480) (Exmax 436 nm/Emmax 478 nm) is a polymer-based dye that can be excited by the violet laser and detected in the BD Horizon BV510 (525/40-nm) filter set. Due to its emission profile, BV480 has less spillover into the BV605, BV650 and BV711 channels and, in general, is brighter than BV510. Due to its excitation profile, BV480 will also have less cross-laser excitation with the UV laser, resulting in less spillover into UV channels compared to BV510. Since BV480, BV510 and V500 have similar excitation and emission properties, they cannot be used simultaneously. | BV480 | 3
405 nm | 610/20 |  | BD Horizon Brilliant™ Violet 605 (BV605) (Exmax 407 nm/Emmax 602 nm) is a tandem fluorochrome that combines BD Horizon BV421 and an acceptor dye with emission at 602 nm. These conjugates are very bright, exhibiting similar brightness to equivalent PE conjugates. Due to the excitation of the acceptor dye by the green (532-nm) and yellow-green (561-nm) lasers, there will be significant spillover of the BD Horizon BV605 signal into the PE and BD Horizon PE-CF594 detectors off the green or yellow-green lasers. | BV605 | 3
405 nm | 780/60 |  | BD Horizon Brilliant™ Violet 786 (BV786) (Exmax 407 nm/Emmax 786 nm) is a tandem fluorochrome of BD Horizon BV421 and an acceptor dye with an Em Max at 786 nm. BD Horizon BV786 offers a bright choice for the sixth detector off the violet laser. | BV786 | 3
488 nm 532 nm 561 nm | 575/26 |  | PE (Exmax 496 nm/Emmax 578 nm) R-phycoerythrin (PE) is an accessory photosynthetic pigment found in red algae. It exists in vitro as a 240-kDa protein with 23 phycoerythrobilin chromophores per molecule. This makes PE the brightest fluorochrome for flow cytometry applications, but its photobleaching properties make it unsuitable for fluorescence microscopy. | PE | 3
488 nm 532 nm 561 nm | 780/60 |  | PE-Cy™7 (Exmax496 nm/Emmax785 nm) is a tandem fluorochrome that combines PE and the cyanine dye Cy7. PE-Cy7 is sensitive to photo-induced degradation, resulting in loss of fluorescence and changes in spillover. Extreme caution must be taken to avoid light exposure and prolonged exposure to paraformaldehyde fixative. Fixed cells should be analyzed within 4 hours of fixation in paraformaldehyde or transferred to a paraformaldehyde-free buffer for overnight storage. | PE-CY7 | 3
633 nm 635 nm 640 nm | 660/20 |  | APC (Exmax650 nm/Emmax660 nm), Allophycocyanin (APC), is an accessory photosynthetic pigment found in blue-green algae. Its molecular weight is approximately 105 kDa. Due to nearly identical excitation and emission properties, APC and Alexa Fluor® 647 cannot be used simultaneously. | APC | 3
633 nm 635 nm 640 nm | 660/20 |  | Alexa Fluor® 647 (Exmax650 nm/Emmax668 nm) conjugates are highly photostable and remain fluorescent over a broad pH range. Due to nearly identical excitation and emission properties, APC and Alexa Fluor® 647 cannot be used simultaneously. APC tends to be brighter while Alexa Fluor® 647 is more optimal for intracellular applications. This fluorochrome exhibits uncommon photostability, making it an ideal choice for use in fluorescence microscopy. | AF647 | 3
633 nm 635 nm 640 nm |  |  | BD Horizon™ APC-R700 (Exmax 652 nm/Emmax 704 nm) is a tandem fluorochrome that combines APC with R700, a proprietary organic dye. This dye has been developed exclusively by BD Life Sciences as a brighter alternative to Alexa Fluor® 700. Due to similar excitation and emission properties, APC-R700 and Alexa Fluor® 700 cannot be used simultaneously. | APC-R700 | 3
355 nm | 379/28 |  | BD Horizon Brilliant™ Ultraviolet 395 (BUV395) (Exmax 348 nm/Emmax 395 nm) is a UV-excitable dye that has been developed exclusively by BD Life Sciences for instruments equipped with a 355-nm UV laser. This dye is optimal for multicolor flow cytometry because it has little to no spillover into other detectors. | BUV395 | 2
355 nm | 515/30 |  | BD Horizon Brilliant™ Ultraviolet 496 (BUV496) (Exmax 348 nm/Emmax 496 nm) is a tandem fluorochrome that combines BD Horizon BUV395 and an acceptor dye with an Em Max at 496 nm. Due to the excitation of the acceptor dye by other laser lines, there may be significant spillover into the channel detecting BD Horizon V500 or BV510 (eg, 525/40-nm filter). BUV496 has been exclusively developed by BD Life Sciences for instruments equipped with a 355-nm UV laser. | BUV496 | 2
405 nm | 525/40 |  | BD Horizon Brilliant™ Violet 510 (BV510) (Exmax 405 nm/Emmax 510 nm) is a polymer-based dye that is brighter than BD Horizon™ V500. Due to similar excitation and emission properties, BD Horizon BV510 and BD Horizon V500 cannot be used simultaneously. | BV510 | 2
488 nm | 530/30 |  | Alexa Fluor® 488 (Exmax 495 nm/Emmax 519 nm) conjugates are highly photostable and remain fluorescent over a broad pH range. Alexa Fluor® 488 tends to be brighter than FITC and more optimal for intracellular applications. Due to nearly identical excitation and emission properties, FITC and Alexa Fluor® 488 cannot be used simultaneously. Alexa Fluor® 488 exhibits extraordinary photostability, which makes it highly suitable for fluorescence microscopy. | AF488 | 2
488 nm | 530/30 |  | FITC (Exmax 494 nm/Emmax 520 nm) Fluorescein isothiocyanate (FITC) is a fluorochrome with a molecular weight of 389 Da. FITC is sensitive to pH changes and photobleaching. Due to nearly identical excitation and emission properties, FITC and Alexa Fluor® 488 cannot be used simultaneously. FITC is relatively dim and should be reserved for highly expressed markers whenever possible. | FITC | 2
488 nm 532 nm | 695/40 |  | PerCP-Cy™5.5 (Exmax482 nm/Emmax678 nm) is a tandem conjugate that combines PerCP with the cyanine dye Cy5.5. PerCP- Cy5.5 is not subject to photobeaching like PerCP and can be used with stream-in-air flow cytometers. Additionally, the PerCP-Cy5.5 tandem conjugate is not as susceptible to fixative or light instability compared to APC-Cy™7 and PE-Cy7. | PERCP-CY5.5 | 2
355 nm | 820/60 |  | BD Horizon Brilliant™ Ultraviolet 805 (BUV805) (Exmax 348 nm/Emmax 805 nm) is a tandem fluorochrome that combines BD Horizon BUV395 and an acceptor dye with an Em Max at 805 nm. BUV805 has been exclusively developed by BD Life Sciences for instruments equipped with a 355-nm UV laser. | BUV805 | 1
405 nm | 450/40 |  | BD Horizon™ V450 (Exmax 404 nm/Emmax 448 nm) is a coumarin dye excited by the violet laser. Due to similar excitation and emission properties but different spillover characteristics, BD Horizon BV421 and BD Horizon V450 cannot be used simultaneously. | V450 | 1
405 nm | 525/50 |  | BD Horizon™ V500 (Exmax 415 nm/Emmax 500 nm) is a novel organic dye excited by the violet laser. This dye offers improved brightness over Pacific Orange™ and reduced spillover into the FITC channel when compared to AmCyan. BD Horizon V500 cannot be used simultaneously with BD Horizon BV510 or Pacific Orange™. | V500 | 1
488 nm 532 nm | 695/40 |  | PerCP (Exmax482 nm/Emmax678 nm) is a component of the photosynthetic apparatus found in the dinoflagellate Glenodinium. PerCP is a protein complex with a molecular weight of ~35 kDa. Due to its photobleaching characteristics, PerCP conjugates are not recommended for use on flow cytometers with high-power lasers (>25 mW). | PERCP | 1
633 nm 635 nm 640 nm | 730/45 |  | Alexa Fluor® 700 (Exmax696 nm/Emmax719 nm) is a far-red dye that can be excited with a 633–640-nm laser. This enables multicolor analysis in conjunction with APC or Alexa Fluor® 647 and APC-H7 or APC-Cy7 reagents. | AF700 | 1
633 nm 635 nm 640 nm | 730/45 |  | APC-Cy™7 (Exmax650 nm/Emmax785 nm) is a tandem fluorochrome that combines APC and the cyanine dye Cy7. Special precautions must be taken with APC-Cy7 conjugates, and cells stained with them, to protect the fluorochrome from longterm exposure to light. Fixed cells should be analyzed within 4 hours of fixation in paraformaldehyde or transferred to a paraformaldehyde-free buffer for overnight storage. Due to nearly identical excitation and emission properties, APC-Cy7 and APC-H7 cannot be used simultaneously. | APC-CY7 | 1
633 nm 635 nm 640 nm | 780/60 |  | APC-H7 (Exmax650 nm/Emmax785 nm) is an APC-cyanine tandem fluorochrome which uses an analog of Cy7 and has similar spectral properties to APC-Cy7. APC-H7 conjugates provide greater stability in light and paraformaldehyde fixatives and have less spillover into the APC channel than APC-Cy7 conjugates. Due to nearly identical excitation and emission properties, APC-Cy7 and APC-H7 cannot be used simultaneously. | APC-H7 | 1
Excitation Line |  | Brightness Relative | VIOLET Laser (405Laser )
Excitation Line |  | Brightness Relative | Blue Laser (488 nm) / Yellow-GREEN
Excitation Line |  | Brightness Relative | RED Laser (640Laser )