UM SCCC Flow Cytometry Shared Resource

LSRII (15 parameters)

|  |  |  |
| --- | --- | --- |
| Laser Excitation | Filter Emission | Fluorochromes |
| Violet  (405nm) | 450/50 | BV421, Pacific Blue, Alexa Fluor 405, Alexa Fluor 450, eFluor 450, V450, CFP, Live/Dead Fixable Violet, Fixable Viability Dye eFluor 450 |
| 530/30 | BV510, AmCyan, Pacific Orange, V500, Zombie Aqua, Live/Dead Fixable Aqua, Fixable Viability Dye eFluor 506 |
| 610/20 | BV605, Qdot 605, eFluor 605, Live/Dead Fixable Yellow |
| 670/30 | BV650, Qdot 655, eFluor 650 |
| 710/50 | BV711, Qdot 705 |
| 780/60 | BV789 |
| Blue  (488nm) | 525/50 | FITC, Alexa Fluor 488, BB515, GFP, YFP, Zombie Green, Live/Dead Fixable Green, Fixable Viability Dye eFluor 520 |
| 695/40 | PerCP, PerCP-Cy5.5, PerCP-eFluor 710, BB700 |
| Green  (535nm) | 582/15 | PE, tdTomato, Cy3 |
| 610/20 | PE-Texas Red, PI, RFP, PE-Dazzle 594, PE-eFluor 610, mCherry, mStrawberry, Alexa Fluor 568, Live/Dead Fixable Red |
| 660/20 | PE-Cy5, 7AAD |
| 780/60 | PE-Cy7 |
| Red  (640nm) | 660/20 | APC, Alexa Fluor 647, eFluor 660, Cy5, Live/Dead Fixable Far Red, Fixable Viability Dye eFluor 660 |
| 730/45 | Alexa Fluor 700, APC-R700, Alexa Fluor 680 |
| 780/60 | APC-Cy7, APC-H7, APC-eFluor 780, APC-Alexa Fluor 750, Fixable Viability Dye eFluor 780 |